## 1) Audit protocol
Audit Protocol
A retrospective audit evaluating DXA scan and analysis technique against defined departmental and manufacturer specific standards. Generic standards are provided based upon the standards outlined in the ROS DXA Quaity standards checklist.
1. 10% of DXA scans are audited annually. These could be 25 consecutively acquired DXA scans from a given time frame e.g.per month/6 week period depending on n. scans performed in the centre
2. The lumbar spine image is evaluated against the positioning standard defined and responses to each question entred in 1 for yes and 0 for no. 0.5 may be entred for minor errors.
3. The lumbar spine image is evaluated against the analysis standard defined and responses to each question entred 1 for yes and 0 for no. 0.5 may be entred for minor errors.
4. The proximal femur image is evaluated against the positioning standard defined and responses to each question entred 1 for yes and 0 for no. 0.5 may be entred for minor errors.
5. The proximal femur image is evaluated against the analysis standard defined and responses to each question entred 1 for yes and 0 for no. 0.5 may be entred for minor errors.
6. Outcomes are populated automatically in the audit report and can be pesented in chart form or as ongoing evaluation of measured standards against a target.
7. An action plan template is provided to support quality improvements that are identified by the audit process.
7. Minimum tagets are suggested
Notes:
The scans should:
1) be representitive of the normal working practices in your deprtment
2) reflect the range of those currently acquiring and analysing DXA scans
3) reflect the range of patients you normally scan on your department
4) reflect the range of difficulty in interpretation of scans that you normally see in your department

## 2) Data collection
DXA Scan Technique Audit Tool
| The lumbar spine | [7 empty] | The proximal femur | [7 empty] | Comments | Operator
| Positioning Y=1 N=0 |  |  |  | Analysis Y=1 N=0 |  |  |  | Positioning Y=1 N=0 |  |  |  | Analysis Y=1 N=0
| does the scan start in the body of L5 ? | is the spine vertical in the FOV? | is the spine central in the FOV? | does the scan end in the body of T12? | is the bone map accurate? | are the vertebrae lablled correctly? | are the intervertebral markers equidistant from end plates? | are # and degenerative changes excluded? | is the femur vertical in the FOV? | is the acetabulum fully visualised + 5cm? | is there little or no lesser trochanter visualised? | are there 2-3 sweeps inferior to the iscium? | is the bone map accurate? | does the mid-femoral line biscect the femoral head ? | is the femoral neck box 90 to the mid fem line? +/- adjacet to greater trochanter? | is the neck box free of bone mapped iscium?
1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1
3 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
5 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1
6 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
7 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
9 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
10 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1
11 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
13 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1
14 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
15 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
16 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
17 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
18 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
19 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
20 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
21 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
22 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
23 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
24 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
25 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Total | 25 | 9 | 21 | 21 | 13 | 25 | 9 | 20 | 9 | 13 | 9 | 21 | 25 | 25 | 25 | 25
| Spine positioning % |  | 76 |  | Spine analysis % |  | 67 |  | Femur Positioning % |  | 52 |  | Femur analysis % |  | 100
| Total Spine % |  | 71.5
| Total femur % |  | 76
| Total positioning % |  | 64
| Total analysis % |  | 83.5
Before you start!
Remove the dummy data from the table and enter your data there (you can delete this dialogue box when you are ready)
The green shaded boxes will populate automtically when you enter data into the audit template

## 3) Report and action plan
DXA scan technique and analysis audit report | [5 empty] | DXA reporting quality improvement action plan
This template auto-populates and calculates on completion of data collection from sheet 2 | [5 empty] | The action plan should form part of departmental clinical governance to support the delivery of safe and effective scan provision.
| Target* | proportion compliant at audit |  | Target* | proportion compliant at audit | Action plan | Actioned by who? | Actioned by when? | Outcome? Set your desired outcome metric (KPI)
lumbar spine positioning % | 85 | 76 | proximal femur Positioning % | 85 | 52
lumbar spine analysis % | 95 | 67 | proximal femur analysis % | 95 | 100
Total lumbar spine % compliance | 85 | 71.5 | Toal Femur % compliance | 85 | 76
Total positioning % compliance | 85 | 64
Toal analysis % compliance | 95 | 83.5
*Targets are suggetsed but may be set by individual services

## 4) DXA scan technique Standards
Generic standards based upon the standards published in the ROS 'DXA scans- Quality Standards Checklist'
Individual services may adjust these standards according to the DXA equipment in use for analysis only. Positioning standards are universal.
The lumbar spine
Positioning standards | Analysis standards
*For GE Lunar scanners this determines the soft tissue values and is non-negotiable. For Hologic scanners, best practice is to only include L5-T12 as part of optimisation under IR(ME)R. If a scout scan is performed to verify L5 then the acquisition scan should be repositioned to start in the body of L5 and not include sacrum | *For GE Lunar scanners: use point typing to complete the edge detection only where missing mis mapped bone is greater that the default ‘brush’ size in the point typing mode. **Vertebrae are excluded where 1) There is aa focal abnormality regardless of the impact on BMD 2) The result differed by >1SD T-score from adjacent vertebrae AND a visual abnormality to inform which vertebrae to exclude 3) There is an artifact overlying the vertebrae. For artifacts overlying soft tissue: GE Lunar scanners- point type as artifact, Hologic scanners- exclude the vertebral level.
The proximal femur
Positioning standards | Analysis standards
*GE lunar scanners- 2-3 sweeps & Hologic scanners minimum of 5cm superior to acetabulum and inferior to ischium
*GE lunar scanners- this is essential for correct auto placement of the femoral neck box and must be corrected through point typing **This can be adjusted through: GE scanners- by point typing the inferior ischium as ‘neutral’ or shortening the long axis of the neck of femur box. This box MUST NOT be narrowed (short axis). HOLOGIC scanners as excluding bone through ‘sinking islands’

## 5) Longitudinal monitoring
DXA scan technique and analysis audit report
proportion compliant at audit
| *Targets are suggetsed but may be set by individual services | Target* | Date Example data month1 | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date | Date
enter data manually | lumbar spine positioning % | 85 | 60 | 67 | 88 | 86 | 76
| lumbar spine analysis % | 95 | 70 | 75 | 76 | 77 | 67
automatic data entry | Total lumbar spine % compliance | 85 | 65 | 71 | 82 | 81.5 | 71.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
enter data manually | proximal femur Positioning % | 85 | 70 | 68 | 56 | 87 | 52
| proximal femur analysis % | 95 | 75 | 65 | 67 | 87 | 100
automatic data entry | Total Femur % compliance | 85 | 72.5 | 66.5 | 61.5 | 87 | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total positioning % compliance | 85 | 65 | 67.5 | 72 | 86.5 | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total analysis % compliance | 95 | 72.5 | 70 | 71.5 | 82 | 83.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Before you start!
Remove the dummy data from the blue and orange shaded boxes.
These graphs will populate automatically when you enter your own data to the blue and orange boxes
The white shaded boxes will populate automatically when you enter your own data to the blue and orange boxes